## Objects
Verlichting
| Schakelen | Schakelen FB | Dimmen | Value object | Value feedback | Data_type(ID) | Data_type note
Badkamer spots | 0/0/1 | 0/1/1 | 0/2/1 | 0/3/1 | 0/4/1 | 1,1,3,5,5
Gang lamp | 0/0/2 | 0/1/2 | 0/2/2 | 0/3/2 | 0/4/2 | 1,1,3,5,5
Bed left | 0/0/3 | 0/1/3 | 0/2/3 | 0/3/3 | 0/4/3 | 1,1,3,5,5
Bed right | 0/0/4 | 0/1/4 | 0/2/4 | 0/3/4 | 0/4/4 | 1,1,3,5,5
Plafonier slaap | 0/0/5 | 0/1/5 | 0/2/5 | 0/3/5 | 0/4/5 | 1,1,3,5,5
Plafoniere woon | 0/0/6 | 0/1/6 | 0/2/6 | 0/3/6 | 0/4/6 | 1,1,3,5,5
lamp corner | 0/0/7 | 0/1/7 | 0/2/7 | 0/3/7 | 0/4/7 | 1,1,3,5,5
dining table | 0/0/8 | 0/1/8 | 0/2/8 | 0/3/8 | 0/4/8 | 1,1,3,5,5
spots kitchen | 0/0/9 | 0/1/9 | 0/2/9 | 0/3/9 | 0/4/9 | 1,1,3,5,5
Ventilation
|  | C02 | Data_type(ID) | Data_type note
Master/slave heating/cooling |  | 1/2/0 | 1 | 1 = heating
Ventilation
| CO2 | Humidity | Temperature | Control | Data_type(ID) | Data_type note
Bedroom | 2/0/0 | 2/0/1 | 2/0/2 |  | 9,5,9,-
Livingroom | 2/0/3 | 2/0/4 | 2/0/5 |  | 9,5,9,-
Bathroom | 2/0/6 | 2/0/7 | 2/0/8 |  | 9,5,9,-
ELAN |  |  |  | 2/1/1 | 1 | NIET STUREN GAAT VIA 2/1/0
Blinds
| Movement | Stop/step | Height | Status Height | Central | Data_type(ID) | Data_type note
Bedroom (manual) | 3/0/0 | 3/1/0 | 3/2/0 | 3/4/0 |  | 1,1,5,5
Bedroom (auto) | 3/0/1 | 3/1/1 | 3/2/1 | 3/4/1 |  | 1,1,5,5
Living (manual) | 3/0/2 | 3/1/2 | 3/2/2 | 3/4/2 |  | 1,1,5,5
Living (Auto) | 3/0/3 | 3/1/3 | 3/2/3 | 3/4/3 |  | 1,1,5,5
Kitchen (manual) | 3/0/4 | 3/1/4 | 3/2/4 | 3/4/4 |  | 1,1,5,5
Kitchen (Auto) | 3/0/5 | 3/1/5 | 3/2/5 | 3/4/5 |  | 1,1,5,5
Wind |  |  |  |  | 3/5/0 | 1
Rain |  |  |  |  | 3/5/1 | 1
Frost |  |  |  |  | 3/5/2 | 1
Sensor alarm |  |  |  |  | 3/5/3 | 1
Automatic |  |  |  |  | 3/5/4 | 1 | 1 = auto
MTP dummy
| Switch | Switch FB | Value | Value FB | Color scene | Temperature color | Data_type(ID) | Data_type note
Bathroom (led strip) | 4/0/0 | 4/1/0 | 4/2/0 | 4/3/0 | 4/4/3 | 4/5/0 | 1,5,5,5,9
Bedroom (led strip) | 4/0/1 | 4/1/1 | 4/2/1 | 4/3/1 | 4/4/1 | 4/5/1 | 1,5,5,5,9
Livingroom (led strip | 4/0/2 | 4/1/2 | 4/2/2 | 4/3/2 | 4/4/2 | 4/5/2 | 1,5,5,5,9
Dummy actor
| Switch | Switch FB | Data_type(ID) | Data_type note
Livingroom 1 | 5/4/0 | 5/5/0 | - | Not important
Livingroom 2 | 5/4/1 | 5/5/1 | - | Not important
Bedroom 1 | 5/4/2 | 5/5/2 | - | Not important
Bedroom 2 | 5/4/3 | 5/5/3 | - | Not important
Bathroom | 5/4/4 | 5/5/4 | - | Not important
Dummy actor Absolute led dimming + feedback
| Dim RGBW | Dim RGBW FB | Dim R | Dim R FB | Dim G | Dim G FB | Dim B | Dim B FB | Dim W | Dim W FB | Data_type(ID) | Data_type note
Livingroom 1 | 5/1/0 | 5/6/0 | 5/1/1 | 5/6/5 | 5/1/2 | 5/6/10 | 5/1/3 | 5/6/15 | 5/1/4 | 5/6/20 | - | Not important
Livingroom 2 | 5/1/5 | 5/6/1 | 5/1/6 | 5/6/6 | 5/1/7 | 5/6/11 | 5/1/8 | 5/6/16 | 5/1/9 | 5/6/21 | - | Not important
Bedroom 1 | 5/1/10 | 5/6/2 | 5/1/11 | 5/6/7 | 5/1/12 | 5/6/12 | 5/1/13 | 5/6/17 | 5/1/14 | 5/6/22 | - | Not important
Bedroom 2 | 5/1/15 | 5/6/3 | 5/1/16 | 5/6/8 | 5/1/17 | 5/6/13 | 5/1/18 | 5/6/18 | 5/1/19 | 5/6/23 | - | Not important
Bathroom | 5/1/20 | 5/6/4 | 5/1/21 | 5/6/9 | 5/1/22 | 5/6/14 | 5/1/23 | 5/6/19 | 5/1/24 | 5/6/24 | - | Not important
Dummy actor 12 fold actor
**EM = energy module | Kanaal 1 | Kanaal 2 | Kanaal 3 | Kanaal 4 | Kanaal 5 | Kanaal 6 | Kanaal 7 | Kanaal 8 | Kanaal 9
ELAN pos 1 (FB) | Kanaal 1: 5/2/1
ELAN pos 2 (FB) | Kanaal 2: 5/2/3
ELAN pos 3 (FB) | Kanaal 3: 5/2/5
Lamp TR | Kanaal 4: 5/2/6
Lamp TR FB | Kanaal 4: 5/2/7
Elan pos 4 (FB) | Kanaal 5: 5/2/9
EM cooling | Kanaal 6: 5/2/10
"" FB | Kanaal 6: 5/2/11
EM heating | Kanaal 7: 5/2/12
"" FB | Kanaal 7: 5/2/13
EM pomp Elan | Kanaal 8: 5/2/14
"" FB | Kanaal 8: 5/2/15
EM Elan pomp V.V. | Kanaal 9: 5/2/16
""FB | Kanaal 9: 5/2/17
Dummy Heating actor
| Ouput valve FB | Command value | Valve
Zone 1 | Kanaal 1: 5/3/0; Kanaal 2: 5/3/3; Kanaal 3: 5/3/6
Zone 2 | Kanaal 1: 5/3/1; Kanaal 2: 5/3/7; Kanaal 3: 5/3/4
Zone 3 | Kanaal 1: 5/3/3; Kanaal 2: 5/3/8; Kanaal 3: 5/3/5
Dummy Sensor
Combi sensor
Twilight measured | Kanaal 1: 6/0/0
Wind measured | Kanaal 1: 6/0/1
Rain Yes/NO | Kanaal 1: 6/0/2
sun east | Kanaal 1: 6/0/3
sun south | Kanaal 1: 6/0/4
sun west | Kanaal 1: 6/0/5
Presence
Hallway presence | Kanaal 1: 6/1/0
Binary input
Rookmelder Alarm | Kanaal 1: 6/2/0
Rookmelder visual | Kanaal 1: 6/2/1
Energy bedrijfsmelding | Kanaal 1: 6/2/2
Energy foutmelding | Kanaal 1: 6/2/3
Sprinkler installatie | Kanaal 1: 6/2/4
Temperature outdoor
Brightness | Kanaal 1: 6/3/0
Temperature | Kanaal 1: 6/3/1
Autolight
Woonkamer | Kanaal 1: 7/0/1
Slaapkamer | Kanaal 1: 7/0/2
Entree | Kanaal 1: 7/0/3
Keuken | Kanaal 1: 7/0/4
Scenes
Alles aan | Kanaal 1: 7/4/0 (1)
Alles uit | Kanaal 1: 7/4/0 (2)

## Datatypes
Type | ID
1 bit(boolean) | 1
4 bits(3 bit evaluated) | 3
1 byte usigned integer | 5
2 byte floating point | 9
3 byte unsigned integer | 232600
14 byte ASCII | 16